DAILY SCAFFOLD SAFETY CHECKLIST

| NO | SCAFFOLD TYPE | SCAFFOLD TAG NO | ERECTED BY | DEFICIENCY NO | DATE |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |
| 18 |  |  |  |  |  |
| 19 |  |  |  |  |  |
| 20 |  |  |  |  |  |

| NO | ITEMS TO BE CHECKED / DEFICIENCY LIST |
| --- | --- |
| 1 | Scaffold and foundation adequate for purpose. |
| 2 | Scaffold materials within specification. |
| 3 | Scaffold symmetrical (horizontally and vertically aligned). |
| 4 | Status card system in place (SCAFTAG). |
| 5 | Safe Working Load Marked on structure or status system. |
| 6 | Appropriate Warning Signs and Notices in place. |
| 7 | Scaffold not supported by process lines |
| 8 | Scaffold does not foul process valves, push buttons or other control devices. |
| 9 | Ladders correctly positioned and secured. |
| 10 | Tubes are free from cracks, dents, surface flaws, laminations, corrosion and splits |
| 11 | All planks are free from rot, large knots, a cluster of knots, splits, cracks, gum-veins, nails and notches. |
| 12 | Boards clouted and secure. Toe boards fitted and secured. |
| 13 | Planks are not warped or painted. |
| 14 | All planks have metal bands at both ends. |
| 15 | Access ways clear for emergency escape. |
| 16 | Hand rails fitted, secure, and at correct height. |
| 17 | Intermediate rails fitted, secure and at correct height. |
| 18 | Base plates in place and effective. |
| 19 | Tube ends protected near access points. |
| 20 | Couplers maintained and fit for purposes. |
| 21 | Anchorage points comply with approved standards. |
| Comments: |  |

| Reviewer name: |  | Date: |  |
| --- | --- | --- | --- |
| Position: |  | Signature: |  |